| Company Name: | Enter text. |  |  | ABN: | Enter text. | Date: | Enter a date. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contact Person: | Enter text. |  |  | Phone: | Enter text. |  |  |
| Principal Contractor: | Enter text. |  |  | Project/Site: | Enter text. |  |  |
| Person(s) involved in the development of this SWMS: |  | Enter text. |  | Address: | Enter text. |  |  |
| Consultation with workers on SWMS (including HSR if present): |  |  | ☐Yes ☐N/A |  | Enter text. |  |  |
| Person responsible for SWMS compliance and review: |  | Enter text. |  | Phone: | Enter text. | Review Date: | Enter a date. |

| Licenses, Permits, Competencies (must be written into the Sign-On page of SWMS) |  |  |  |  | Hazardous Substances (list and attach SDS to SWMS) | WHS Legislation (refer also to page 2 of SWMS) |
| --- | --- | --- | --- | --- | --- | --- |
| Electrical License | ☐ | Rescue & Resuscitation |  | ☐ | Click here to enter text. | Work Health and Safety Act 2020 Work Health and Safety (General) Regulations 2022 Electricity Act 1945 Electricity Regulations 1947 Electricity (Licencing) Regulations 1991 |
| Industry Card | ☐ | High Risk Work License |  | ☐ | Click here to enter text. |  |
| Permit to Work | ☐ | Work at Heights |  | ☐ | Significant Plant & Equipment (e.g. scissor lift, mobile scaffold, forklift) | Codes of Practices: How to manage and control asbestos in the workplace; How to safely remove asbestos; How to manage work health and safety risks; Work health and safety consultation, cooperation and coordination; AND Safe Work Australia Workplace Exposure Standards for Airbourne Contaminants and any other relevant LGIRS and B&E Codes of Practices |
| Traffic Control | ☐ | High Voltage Work |  | ☐ | Click here to enter text. |  |
| Class B Non-Friable | ☐ |  |  |  | Click here to enter text. | AS 3000 Wiring Rules; AS 3012 Construction Sites AS 3760 In-Service Safety Inspection and Testing AS 1891 Fall Arrest Systems; AS 1892 Portable Ladders, other standards may be applicable |
| Asbestos Awareness Training |  |  | ☐ |  | Click here to enter text. |  |

| RISK ASSESSMENT MATRIX |  | Likelihood of Causing Injury or Environmental Harm |  |  |  | PRIORITISATION OF RISK (Actions) 1 = Urgent – Stop Work Immediate Action Required 2 = Immediate – Take Action within 24 hours 3 = Medium Term – Take Action within 5 days 4 = Longer Term – Take Action within 30 days 5 = Monitor Risk – Monitor the Risk |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Very likely Could happen frequently | Likely Could happen occasionally | Unlikely Could happen but only rarely | Very unlikely Could happen, but probably never will |  |
| Consequence of Injury or Impact on Environment | Severe - Kill or cause a catastrophic release to the environment | 1 | 1 | 2 | 3 |  |
|  | Major - Long term injury/illness or environmental impact on neighbours | 1 | 2 | 3 | 4 |  |
|  | Moderate - Medical treatment or environmental impact on site | 2 | 3 | 4 | 5 |  |
|  | Minor - First aid treatment or enviro clean up | 3 | 4 | 5 | 5 |  |

POTENTIAL SAFETY HAZARDS/RISKS WITH THIS TASK (tick relevant)

| LEGISLATION AND OTHER REFERENCES THE HARMONISED whs regulation 2022 is designated by: C = chapter, P = part, D = division, COP = code of practice, HRCW = high risk construction work (C6, P3, D2) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | Risk of Person Falling physical barriers, fall arrest, fall prevention, retrieval | C4/P4 COP HRCW | ☐ | Temperature Extremes including Artificial sun, UV, freezers, boilers | C3/P1 COP HRCW | ☐ | Pressurised Gas Distribution Mains or Piping hitting or puncturing & UG services | C7/P1/D9 HRCW |
| ☐ | Energised Electrical Works live work, electric shock, testing, LOTO, UG services | C4/P7 COP HRCW | ☐ | Precast and Tilt Up Concrete lifting, moving, craning, placing, propping | COP HRCW | ☐ | Refrigerant, Fuel or Chemical Lines flammable gas, vapour, fumes | C3/P2/D8 HRCW |
| ☐ | Asbestos likely exposure, register, PPE, air-monitoring | C8 COP HRCW | ☐ | Demolition elect shock, isolations, LOTO, load bearing issues of structure | C4/P6 COP HRCW | ☐ | Emergency/First Aid/Remote Work first aid facilities, remote / isolated work, emergency response plan | C3/P2 D3,4,6 COP |
| ☐ | Confined Space work in or near a confined space, unsafe oxygen level, competency, permit to work, spotter | C4/P3 COP HRCW | ☐ | Flammable Atmosphere, Major Hazard Facility flammable gas, vapour, fumes, combustible dust, ignition sources, licenses, permits | C3/P2/D8 C9 Schedules 15 - 18 HRCW | ☐ | Hazardous Subs/Chemicals/Lead SDS, registers, manifest, signage, spills, contamination, health monitoring, emergency planning | C7, C8 Schedules 7 - 14 COP |
| ☐ | Powered Mobile Plant, maintenance, competencies, traffic movement plan | C5/P1/D7 HRCW | ☐ | Working in or near Water/Liquid risk of drowning, PFD, fall arrest | C3/P1 HRCW | ☐☐ | Falling Objects from above or on those below, lanyards, screens, drop zone | C3/P2/D10 |
| ☐ | Live Traffic Corridors working near/adjacent road, rail, traffic control, licenses | C3/P1 HRCW | ☐ | Work on Telecommunication Towers installing equipment, falls, | C3/P1 HRCW | ☐ | Noise/Hearing Loss exposure, managing risk, PPE, audiometric testing and monitoring | C4, P1 COP |
| ☐ | Excavation >1.5 m deep engineers report, bench, batter, soil report, retrieval | C6/P3/D3 COP HRCW | ☐ | Alterations/Repairs/Temp Support to Prevent Collapse structural alterations, propping | C3/P1 HRCW | ☐ | Guide Health monitoring duties for persons conducting a business or undertaking | LGIRS |

POTENTIAL ENVIRONMENTAL IMPACTS WITH THIS TASK (tick relevant)  	HIERARCHY OF CONTROLS

| Air Pollution (dust) | ☐ | Contamination to ground | ☐ |
| --- | --- | --- | --- |
| Noise Pollution (ambient) | ☐ | Soil erosion | ☐ |
| Contamination to water | ☐ | Hazards to flora & fauna | ☐ |
| Heritage considerations | ☐ | Excessive use of water | ☐ |
| Separation waste material | ☐ | Excessive use of electricity | ☐ |

Most effective

Eliminate

Substitute

Isolate

Engineer

Administration

PPE	Least effective

Mark all PPE required for this task – ensure available prior to commencing work

| P P E |  |  |  |  |  |  |  |  |  |  |  |  | Other Click here to enter text. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 ☐ | 2 ☐ | 3 ☐ | 4 ☐ | 5 ☐ | 6 ☐ | 7 ☐ | 8 ☐ | 9 ☐ | 10 ☐ | 11 ☐ | 12 ☐ | 13 ☐ |

| S T E P | What are the Steps / Tasks | Hazards at each Step | Initial Risk Rating likelihood x consequence | Control Description separate control/s are required for each hazard identified | Residual Risk Rating likelihood x consequence | Persons Responsible for Controls |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Entry to site | Unknown site hazards and conditions | 2 | Site Induction / familiarisation of local conditions | 5 | Supervisor & Workers |
| 2 | Conduct a Site-Specific Risk Assessment for asbestos in premises | Inappropriate risk assessment of asbestos containing material | 1 | Check Asbestos Register for any asbestos containing material. Check age of building – commercial and domestic buildings pre 1995 may contain asbestos product Check for asbestos stickers or signage in building Refer to Asbestos Management Plan if applicable | 5 | Supervisor & Workers |
| 3 | If Friable Asbestos Stop Work and report to supervisor Isolate area Friable Asbestos can only be removed by an approved asbestos specialist | Asbestos dust, Serious illness and respiratory disease | 1 | Friable asbestos – means material that is in a powder form or that can be crumbled, pulverised or reduced to a powder by hand pressure when dry, and contains asbestos, e.g. lagging around pipes Note: Removal of Friable Asbestos must be carried out by approved asbestos specialist with a Class A licence. | 4 | Supervisor & Workers |
| 4 | If non-friable Asbestos, then drilling or cutting can occur when following the procedure as laid out in this SWMS | Asbestos dust, Serious illness and respiratory disease | 1 | Non-friable asbestos – means material containing asbestos that is not friable asbestos, including material containing asbestos fibres reinforced with a bonding compound, e.g. roof sheeting, wall cladding, flooring. Non-friable asbestos can be drilled and cut BUT asbestos fibres must be contained and are not to become airborne. Note: Non-Friable asbestos > 10sqm must be handled by a person with a Class A or B licence. | 4 | Supervisor & Workers |
| 5 | Drilling or cutting holes in non-friable (bonded) asbestos product | Inappropriate risk assessment of asbestos containing product | 1 | Ensure appropriate controls as discussed following are in place for drilling or cutting non friable asbestos containing material Ensure an Asbestos Response Kit is available for minor asbestos work such as drilling or cutting in asbestos walls. The kit should include: - Disposable overalls - Type 5 cat 3, inspecting suit for tears etc. Ensure all hair is under hood. - Disposable latex, nitrile or neoprene gloves - Tape over and suit at wrists to ensure good seal. - Facemask - Minimum type 2 half face particulate disposable respirator. Facemask must be approved for asbestos use. - Shoe covers - Do not wear laced boots if handling asbestos. - Safety glasses - Labelled plastic bag > 200 microns thick - Black permeant marker - Duct tape - Wet rags - Asbestos vacuum cleaner | 5 | Supervisor & Workers |
| 6 | Set up signage and barrier around work area | Other workers or public inadvertently entering area | 2 | Ensure workers and public are aware of worksite; Isolate area for 5m distance if possible Erect barriers, temporary fencing, safety tape or bunting around work area Install signage Warning of Asbestos Work that conforms to Appendix 3 of the Asbestos Code of Practice – How to Manage and Control Asbestos in the Workplace. | 5 | Supervisor & Workers |
| 7 | Equipment that may be required prior to starting work (in addition to what is needed for the task) | Asbestos dust, Serious illness and respiratory disease | 1 | The drilling or cutting of asbestos cement sheeting can release asbestos fibres into the atmosphere, so precautions must be taken to protect the drill operator and other persons from exposure to these fibres. A hand drill or saw is preferred to a battery-powered drill or saw because the quantity of fibres is drastically reduced by hand operation. Battery-powered drills or saws should be fitted with local exhaust ventilation (LEV) dust control hood wherever possible. If an LEV dust control hood cannot be attached and other dust control methods such as pastes and gels are unsuitable then shadow vacuuming techniques should be used. Disposable cleaning rags A bucket of water, or more as appropriate, and/or a misting spray bottle Duct tape 9Sealant Spare PPE A thickened substance such as wallpaper paste, shaving cream or hair gel >200-micron plastic sheeting A suitable asbestos waste container (e.g. 200 μm plastic bags or a drum, bin or skip lined with 200 μm plastic sheeting) Warning signs and/or barrier tape An asbestos vacuum cleaner A sturdy paper, foam or thin metal cup, or similar (for work on overhead surfaces only). | 4 | Supervisor & Workers |
| 8 | PPE | Asbestos dust, Serious illness and respiratory disease | 1 | Protective clothing and respiratory equipment (see AS1715, AS 1716). It is likely that a class P1 or P2 half face respirator will be adequate for this task, provided the recommended safe work procedure is followed. | 5 | Supervisor & Workers |
| 9 | Preparing the asbestos work area | Asbestos dust, Serious illness and respiratory disease | 1 | If the work is to be carried out at a height, appropriate precautions must be taken to prevent falls. Refer to appropriate W@H SWMS Ensure appropriately marked asbestos waste disposal bags are available. Carry out the work with as few people present as possible. Segregate the asbestos work area to ensure unauthorised personnel are restricted from entry (e.g. close door and/ or use warning signs and/or barrier tape at all entry points). The distance for segregation should be determined by a risk assessment. If drilling or cutting a roof from outside, segregate the area below. If access is available to the rear of the asbestos cement, segregate this area as well as above. If possible, use plastic sheeting, secured with duct tape, to cover any surface within the asbestos work area that could become contaminated. Ensure there is adequate lighting. Avoid working in windy environments where asbestos fibres can be redistributed. If using a bucket of water, do not resoak used rags in the bucket, as this will contaminate the water. Instead, either fold the rag so a clean surface is exposed or use another rag. | 5 | Supervisor & Workers |
| 10 | Drilling or cutting vertical surfaces | Asbestos dust, Serious illness and respiratory disease | 1 | Tape both the point to be drilled or cut and the exit point, if accessible, with a strong adhesive tape such as duct tape to prevent the edges crumbling. Cover the drill or cut entry and exit points (if accessible) on the asbestos with a generous amount of thickened substance. Drill or cut through the paste. Use damp rags to clean off the paste and debris from the wall and drill bit or saw. Dispose of the rags as asbestos waste as they will contain asbestos dust and fibres. Seal the cut edges with sealant. If a cable is to be passed through, insert a sleeve to protect the inner edge of the hole. | 5 | Supervisor & Workers |
| 11 | Drilling overhead horizontal surfaces | Asbestos dust, Serious illness and respiratory disease | 1 | Mark the point to be drilled. Drill a hole through the bottom of the cup. Fill or line the inside of the cup with shaving cream, gel or a similar thickened substance. Put the drill bit through the hole in the cup so that the cup encloses the drill bit, and make sure the drill bit extends beyond the lip of the cup. Align the drill bit with the marked point. Ensure the cup is firmly held against the surface to be drilled. Drill through the surface. Remove the drill bit from the cup, ensuring that the cup remains firmly against the surface. Remove the cup from the surface. Use damp rags to clean off the paste and debris from the drill bit. Dispose of the rags as asbestos waste, as they will contain asbestos dust and fibres. Seal the cut edges with sealant. If a cable is to be passed through, insert a sleeve to protect the inner edge of the hole. Use damp rags to clean the equipment. Carefully roll or fold any plastic sheeting used to cover any surface within the asbestos work area, so as not to spill any dust or debris that has been collected. If necessary, use damp rags and/or an asbestos vacuum cleaner to clean any remaining visibly contaminated sections of the asbestos work area. Place debris, used rags, plastic sheeting and other waste in the asbestos waste bags/container. Wet wipe the external surfaces of the asbestos waste bags/container to remove any adhering dust before they are removed from the asbestos work area. | 5 | Supervisor & Workers |
| 12 | Personal Decontamination | Asbestos dust, Serious illness and respiratory disease | 1 | Wash hands and arms well, then the sink area | 5 | Supervisor & Workers |
| 13 | Clearance procedure | Other workers or public inadvertently entering area | 2 | Remove signage and barrier around work area Visually inspect the asbestos work area to make sure it has been properly cleaned. Clearance air monitoring is not normally required for this task. Dispose of all waste as asbestos waste. Refer to the Code of Practice: How to Safely Remove Asbestos for more information. Inspect all work areas to ensure safe to reopen. | 5 | Supervisor & Workers |
| 14 | Emergency procedures | Fall, injury, entrapment |  | Cease working immediately If possible, retrieve the person from the task if not safe to do so Do Not Move the worker Be aware of asbestos conditions around the worker - (call 000) - If unconsciousness First aider to commence DRSABCD. - If applicable follow sites emergency procedures. - Follow emergency services directions on phone and when on scene. |  | Supervisor & Workers |
| 15 | Review of this SWMS | People signed onto SWMS are not familiar with content | 2 | SWMS is to be regularly reviewed via Toolbox Talk or similar | 5 | Supervisor & Workers |
|  | Site specific tasks | Site specific hazards |  | Site specific controls |  |  |
|  | Site specific tasks | Site specific hazards |  | Site specific controls |  |  |

| We, the undersigned, confirm that we have been consulted regarding the above SWMS and that its content is clearly understood. We also confirm that our required qualification/s to undertake this activity is current and that we are competent to complete the work safely and without risk to our own health or the health of others. We clearly understand that the controls in this SWMS must be applied as documented, otherwise work is to cease immediately, and we will ensure that the work area is made safe should risks to other workers, visitors or the public remain. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Worker’s Name | Job Title | Principal Qualification/License/Ticket | Date | Worker’s Signature |